Final Technical Report: Model Optimization & Deployment

HTIC (IIT Madras & DBT) Assignment  |  Candidate: Keerthana  |  Task: fetal ultrasound plane classification with MobileNetV3-Large

| 8.05 MB model size (−49.8%) | 4.4 ms CPU inference (7.2× faster) | 92.18% held-out test accuracy (baseline 92.16%) | 16.6 ms end-to-end per image (median) |
| --- | --- | --- | --- |

# 1. Baseline

- Task: classify static 2D ultrasound images into 6 classes (fetal brain, thorax, abdomen, femur, maternal cervix, other).

- Dataset: FETAL_PLANES_DB, 12,400 images from 1,792 patients. Split by patient (StratifiedGroupKFold) so no patient appears in both development and test data.

- Model: pretrained MobileNetV3-Large, fine-tuned for 5 epochs, PyTorch FP32 on CPU as the baseline.

- Hardware: training on Tesla T4 GPU; all inference benchmarks on an AMD Ryzen 7 5800H laptop CPU.

- Method: model latency = inference only; end-to-end = image load + preprocessing + inference + postprocessing. Quality = accuracy and macro-F1.

| Split | Images | Share | Patients | Used for |
| --- | --- | --- | --- | --- |
| Train | 5,673 | 45.8% | 896 (dev pool) | Training |
| Validation | 1,456 | 11.7% | (same dev pool) | Tuning and model selection |
| Held-out test | 5,271 | 42.5% | 896 | Final check only |
| Total | 12,400 | 100% | 1,792 (no overlap) |  |

| Baseline (PyTorch FP32, CPU) | Model size | CPU latency | Validation acc / F1 | Test acc / F1 (5,271 images) |
| --- | --- | --- | --- | --- |
| Result | 17.05 MB | 31.81 ms (31.4 img/s) | 94.09% / 93.23% | 92.16% / 91.12% |

Conclusion: the baseline is accurate (92.2% on unseen patients) but slow on CPU at 31.8 ms per image. That is the gap the optimizations target.

# 2. Model Optimization

## 2.1 Training-time: mixed-precision training (AMP)

- What: FP16 autocast + GradScaler on the Tesla T4.

- Result: 5 epochs in 430.99 s with peak GPU memory of only 786.2 MB, reaching about 94% validation accuracy.

Conclusion: AMP kept training short (about 7 minutes) and light (under 1 GB of VRAM) while still reaching about 94% validation accuracy.

## 2.2 Post-training: ONNX export, FP16 and INT8 quantization

- What: exported to ONNX, then compared FP16, dynamic INT8 and static INT8 (MinMax calibration).

| Variant | Size | Val acc | Val F1 | CPU latency | Decision |
| --- | --- | --- | --- | --- | --- |
| PyTorch FP32 (baseline) | 17.05 MB | 94.09% | 93.23% | 31.81 ms | Reference |
| ONNX FP32 | 16.05 MB | 94.09% | 93.23% | 5.07 ms | Intermediate step |
| ONNX FP16 | 8.05 MB | 94.09% | 93.17% | 4.44 ms | SELECTED: half the size, fastest, no accuracy loss |
| ONNX dynamic INT8 | 4.22 MB | 72.12% | 65.17% | 160.81 ms | Rejected: −22 pp accuracy and slower |
| ONNX static INT8 | 4.50 MB | 51.58% | 27.75% | 36.03 ms | Rejected: −42 pp accuracy |

- Why INT8 failed: depthwise convolutions have very different value ranges per channel, so one INT8 scale clips small features; Hard-Swish loses precision under MinMax rounding; dynamic INT8 also adds quantize/dequantize overhead on CPU.

- Where the speedup comes from: most of it is moving from PyTorch to ONNX Runtime (31.8 to 5.07 ms). FP16 then halves the file size and adds about 12% more speed.

Conclusion: FP16 ONNX is the best trade-off. INT8 post-training quantization saves another 2× in size but costs too much accuracy to use.

# 3. Code Optimization (profiling, bottleneck, fix)

| Pipeline stage (8 threads) | Median | Share | Note |
| --- | --- | --- | --- |
| Image loading | 6.25 ms | 37.7% | Disk read + decode |
| Preprocessing | 5.48 ms | 33.1% | Resize + normalize |
| Model inference | 4.61 ms | 27.8% | ONNX Runtime FP16 |
| Postprocessing | 0.11 ms | 0.7% | Softmax + label |
| Total end-to-end | 16.59 ms | 100% | Peak RAM 340.65 MB |

- Bottleneck shifted: on 1 thread, inference was the main cost (14.82 of 25.84 ms, about 57%). After optimization, loading + preprocessing take about 71% of the runtime.

- Optimization 1: CPU thread tuning. ONNX Runtime threads 1 → 8 cut inference from 12.24 to 4.18 ms (−66%) and end-to-end from 25.84 to 16.59 ms (−36%).

- Optimization 2: batching. Batch size 4 reaches 277.7 img/s versus 234.1 img/s for single images (+19%).

| Setting | Threads | Median latency | P95 latency | Throughput |
| --- | --- | --- | --- | --- |
| Single thread | 1 | 12.24 ms | 15.45 ms | 78.7 inf/s |
| 2 threads | 2 | 6.97 ms | 11.01 ms | 131.1 inf/s |
| 4 threads | 4 | 5.74 ms | 6.74 ms | 170.1 inf/s |
| 8 threads (selected) | 8 | 4.18 ms | 4.87 ms | 234.1 inf/s |
| Batch of 4 | 8 | 3.60 ms/img | 14.28 ms/call | 277.7 img/s |

Conclusion: 8 threads for single-image use, batch of 4 for bulk archive processing. The remaining bottleneck is data loading and preprocessing, not the model.

# 4. ONNX / TensorRT Results

- ONNX Runtime (CPU): FP32 5.07 ms → FP16 4.44 ms, with identical validation accuracy (94.09%).

- TensorRT: not benchmarked here, because the deployment target is a laptop CPU. The TensorRT FP16 plan for Jetson is in the separate Jetson & Tablet report.

# 5. Final Deployment vs Baseline

| Metric | Baseline: PyTorch FP32 | Final: ONNX FP16 (8 threads) | Change |
| --- | --- | --- | --- |
| Model size | 17.05 MB | 8.05 MB | −49.8% |
| Inference latency (mean / median) | 31.81 / 30.43 ms | 4.44 / 4.41 ms | 7.2× / 6.9× faster |
| Throughput | 31.4 img/s | 225.2 img/s | +616% |
| End-to-end latency | ~45 ms (approx.) | 16.59 ms (median) | ~2.7× faster |
| Peak RAM | ~550 MB (approx.) | 340.65 MB | ~38% lower |
| Validation accuracy / macro-F1 | 94.09% / 93.23% | 94.09% / 93.17% | 0.00 / −0.06 pp |
| Test accuracy (5,271 images) | 92.16% | 92.18% | +0.02 pp (no real change) |
| Test macro-F1 (5,271 images) | 91.12% | 91.16% | +0.04 pp (no real change) |

Mean and median figures come from separate benchmark runs, so small run-to-run variation (about 4.2 to 4.9 ms for FP16 inference) is expected. Baseline end-to-end time and RAM are approximate.

# 6. Final Model Selection & Trade-offs

- Final model: MobileNetV3-Large, FP16 ONNX, ONNX Runtime CPU with 8 threads (batch of 4 for archives).

- Why: half the size, about 7× faster inference, same accuracy, no retraining, and it runs on any laptop CPU without a GPU.

- FP16: 2× smaller at no accuracy cost.  INT8: 4× smaller but unusable accuracy with post-training quantization.

- Batching: higher throughput but higher per-call latency (14.28 ms for 4 images), so it is only for archives.

- Validation vs test: test accuracy (92.2%) is about 2 %below validation (94.1%) because test patients are unseen. The test numbers are the ones to trust.

# 7. Limitations & Future Improvements

| Limitations | Future improvements |
| --- | --- |
| • Static images only; live-video use not validated • One public dataset from two hospitals; research prototype, not clinically validated • INT8 post-training quantization failed • TensorRT and NPU results not measured on real hardware | • Faster preprocessing (OpenCV / C++) to attack the ~71% loading + preprocessing share • Quantization-aware training to make INT8 usable on edge/NPU hardware • TensorRT FP16 on Jetson Orin Nano and measure on-device • Extend to live probe video (16.6 ms per frame is about 60 FPS on this laptop) |

# 8. Reproducibility

- Docker: python:3.10-slim, libgomp1 (OpenMP threading), non-root user, entrypoint runs the FP16 ONNX model. Code in the GitHub repository; models and Dockerfile on Google Drive.